## Data to Evaluation Formulas
Water Quality
-(Salinity g/L)/Maximum Salinity
-(TDS)/Maximum TDS
+ IF(Source = "TW", -0.5, IF(Source = "SW", -0.5, IF(Is it salty? = Yes, -0.5, 0)))
- IF(Source = PSF, IF((Salinity g/L) = "", (AVERAGEIFS(Range of Salinity, Range of Sources, PSF, If used for drinking?, Yes))/Maximum Salinity + (AVERAGEIFS(Range of TDS, Range of Sources, PSF, If used for drinking?, Yes))/Maximum TDS, 0), 0)
- IF(Source = SW, IF((Salinity g/L) = "", (AVERAGEIFS(Range of Salinity, Range of Sources, SW, If used for drinking?, Yes))/Maximum Salinity + (AVERAGEIFS(Range of TDS, Range of Sources, SW, If used for drinking?, Yes))/Maximum TDS, 0))
- IF(Source = TC, IF((Salinity g/L) = "", (AVERAGEIFS(Range of Salinity, Range of Sources, TC, If used for drinking?, Yes))/Maximum Salinity + (AVERAGEIFS(Range of TDS, Range of Sources, TC, If used for drinking?, Yes))/Maximum TDS, 0))
- IF(Source = TW, IF((Salinity g/L) = "", (AVERAGEIFS(Range of Salinity, Range of Sources, TW, If used for drinking?, Yes))/Maximum Salinity + (AVERAGEIFS(Range of TDS, Range of Sources, TW, If used for drinking?, Yes))/Maximum TDS, 0))
IF(AA2="TW",-0.5,IF(AA2="SW",-0.5,IF(AO2=1,-0.5,0)))
T$1098 | AVERAGEIFS(Range of Salinity, Range of Sources, PSF, If used for drinking?, Yes)
T$1099 | AVERAGEIFS(Range of Salinity, Range of Sources, SW, If used for drinking?, Yes)
T$1100 | AVERAGEIFS(Range of Salinity, Range of Sources, TC, If used for drinking?, Yes)
T$1101 | AVERAGEIFS(Range of Salinity, Range of Sources, TW, If used for drinking?, Yes)
Water Quality
TW | - Sal/Max Sal - TDS/Max TDS - 0.5 (for Arsenic) (if no salinty or TDS data is available, and the source is used as drinking water, use the average value for TW)
SW | - Sal/Max Sal - TDS/Max TDS - 0.5 (for pathogens) (if no salinty or TDS data is available, and the source is used as drinking water, use the average value for SW)
PSF | - Sal/Max Sal - TDS/Max TDS - 0.5 (if perceived as salty) (if no salinty or TDS data is available, and the source is used as drinking water, use the average value for PSF)
TC | - Sal/Max Sal - TDS/Max TDS - 0.5 (if perceived as salty) (if no salinty or TDS data is available, and the source is used as drinking water, use the average value for TC)
RWH | - Sal/Max Sal - TDS/Max TDS - 0.5 (if perceived as salty) (if no salinty or TDS data is available, and the source is used as drinking water, use the average value for RWH)
MAR | - Sal/Max Sal - TDS/Max TDS - 0.5 (if perceived as salty) (if no salinty or TDS data is available, and the source is used as drinking water, use the average value for MAR)
Variability in Supply
AVERAGEIFS(Range of # of Months Used, Range of Sources, Source, Used for drinking, Yes)
Persons Served
SUM(BN1124:BS1124)/SUM(BN1098:BS1098)
Prevelence of Source
| COUNTIFS(AB$2:AB$1089, 1, AA$2:AA$1089, $Z1111,J$2:J$1089, "Khulna") | 1 | AA$2:AA$1089 | $Z1111 | J$2:J$1089 | "Khulna")
If used for drinking, and from specified source, count the numer in Khulna district

## Derviation of Scores
Criteria | Variability in Supply | Variability in Quality | Water Quality | Maintenance Requirements | Failure Rate | Construction Cost | Potential for NGO/Governmental Help | Maintenance Cost | Transportation Costs | Sense of Ownership | Discrimination | Misinformation | Persons served | Job Creation | Prevelence of Source | Time to Source | Hazard Impact | Resilience |  |  | Water Quality | Failure Rate | Sense of Ownership | Prevelence of Source | Distance to Source | Distance to Source
RWH | 5.262 | 5 | -0.026738 | 4 | 5 | 42500 | 5 | 0 | 0 | 5 | 3 | 4 | 6 | 1 | 187 | 2.56 | 5 | 5 |  |  | 5 | 5 | 97 | 3 | 5 | 5
Pond | 8.7983 | 2 | -0.5968 | 5 | 4 | 410000 | 2 | 0 | 10 | 4 | 5 | 4 | 708 | 2 | 110 | 3.83 | 1 | 2 |  |  | 2 | 4 | 32 | 4 | 3 | 775
PSF | 10.4247 | 4 | -0.13613 | 1 | 3 | 50000 | 5 | 100 | 0 | 3 | 4 | 3 | 712 | 2 | 70 | 3.87 | 2 | 2 |  |  | 4 | 3 | 32 | 3 | 3 | 1500
MAR | 5 | 4 | -0.35957 | 1 | 3 | 600000 | 5 | 3250 | 0 | 2 | 3 | 1 | 300 | 2 | 7 | 4 | 3 | 3 |  |  | 4 | 3 | 0 | 1 | 3 | 300
TW | 11.3683 | 4 | -0.64145 | 4 | 4 | 205000 | 2 | 0 | 0 | 4 | 4 | 3 | 83 | 2 | 122 | 11.17 | 5 | 5 |  |  | 2 | 4 | 10 | 2 | 2 | 150
best | 12 | 5 | 0 | 5 | 5 | 3900 | 5 | 0 | 0 | 5 | 5 | 5 | 1000 | 5 | 200 | 0 | 5 | 5 |  |  | 5 | 5 | 100 | 5 | 5 | 0
worst | 0 | 1 | -1 | 1 | 1 | 1000000 | 1 | 4000 | 20 | 1 | 1 | 1 | 0 | 1 | 0 | 15 | 1 | 1 |  |  | 1 | 1 | 0 | 1 | 1 | 1500
Method of Evalutation | Average of number of months used from (BEMS, pilot, HH; BEMS; MAR) | Personal Opinion | Function of TDS, Salinity, Arsenic, and pathogens | Qualitative Interviews | Qualitative Interviews | Matin Paper | Personal Opinion | Matin Paper | Qualitative Interviews | Personal Opinion | Personal Opinion/Qualitative Interviews | Personal Opinion | average of how many people use the source | Personal Opinion | Number of each used for drinking water in Khulna District | How many meters people travel in Khulna. | Personal Opinion | Personal Opinion |  |  | Personal Opinion | Qualitative Interviews | Individual + Household + 1/2 Community ownership precentage | Personal Opinion | Personal Opinion | How many meters people travel in Khulna.
Indifference Threshold, q | 2 | 1 | 0.1 | 1 | 1 | 1560 | 1 | 50 | 5 | 1 | 1 | 2 | 50 | 1 | 50 | 1 | 1 | 1 |  |  | 1 | 1 | 4 | 1 | 1 | 100
Preference Threshold, p | 5 | 3 | 0.4 | 2 | 2 | 3900 | 2 | 1000 | 15 | 3 | 3 | 3 | 200 | 2 | 100 | 3 | 3 | 3 |  |  | 3 | 2 | 20 | 3 | 3 | 300
Criteria | Variability in Supply | Variability in Quality | Water Quality | Maintenance Requirements | Failure Rate | Construction Cost | Potential for NGO/Governmental Help | Maintenance Cost | Transportation Costs | Sense of Ownership | Discrimination | Misinformation | Persons served | Job Creation | Prevelence of Source | Distance to Source | Hazard Impact | Resilience |  |  | Water Quality | Failure Rate | Sense of Ownership | Prevelence of Source | Distance to Source | Distance to Source
RWH | -56.1497 | 0 | -2.6738 | -25 | 0 | -3.8751 | 0 | 0 | 0 | 0 | -50 | -25 | -99.4 | -100 | -6.5 | -17.0667 | 0 | 0 |  |  | 0 | 0 | -3 | -50 | 0 | -0.33333
Pond | -26.6807 | -75 | -59.6803 | 0 | -25 | -40.769 | -75 | 0 | -50 | -25 | 0 | -25 | -29.2 | -75 | -45 | -25.5333 | -100 | -75 |  |  | -75 | -25 | -68 | -25 | -50 | -51.6667
PSF | -13.1279 | -25 | -13.6128 | -100 | -50 | -4.628 | 0 | -2.5 | 0 | -50 | -25 | -50 | -28.8 | -75 | -65 | -25.8 | -75 | -75 |  |  | -25 | -50 | -68 | -50 | -50 | -100
MAR | -58.3333 | -25 | -35.9568 | -100 | -50 | -59.8434 | 0 | -81.25 | 0 | -75 | -50 | -100 | -70 | -75 | -96.5 | -26.6667 | -50 | -50 |  |  | -25 | -50 | -100 | -100 | -50 | -20
TW | -5.2646 | -25 | -64.145 | -25 | -25 | -20.1887 | -75 | 0 | 0 | -25 | -25 | -50 | -91.7 | -75 | -39 | -74.4667 | 0 | 0 |  |  | -75 | -25 | -90 | -75 | -75 | -10
best | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
worst | -100 | -100 | -100 | -100 | -100 | -100 | -100 | -100 | -100 | -100 | -100 | -100 | -100 | -100 | -100 | -100 | -100 | -100 |  |  | -100 | -100 | -100 | -100 | -100 | -100
Indifference Threshold, q | -83.3333 | -100 | 10 | -100 | -100 | 0.23492 | -100 | -1.25 | -25 | -100 | -100 | -75 | -95 | -100 | -75 | -6.6667 | -100 | -100 |  |  | -100 | -100 | -96 | -100 | -100 | -6.6667
Preference Threshold, p | -58.3333 | -50 | 40 | -75 | -75 | 0 | -75 | -25 | -75 | -50 | -50 | -50 | -80 | -75 | -50 | -20 | -50 | -50 |  |  | -50 | -75 | -80 | -50 | -50 | -20
v/p | 6 | 7 | 6 | 5 | 7 | 4 | 3 | 3 | 5 | 6 | 7 | 10 | 7 | 12 | 5 | 5 | 10 | 10 |  |  | 6 | 7 | 6 | 5 | 5 | 5
Veto Threshold, v | -350 | -350 | 240 | -375 | -525 | 0 | -225 | -75 | -375 | -300 | -350 | -500 | -560 | -900 | -250 | -100 | -500 | -500 |  |  | -300 | -525 | -480 | -250 | -250 | -100
Weight of Criteria, k | 0.7 | 0.6 | 0.7 | 0.8 | 0.6 | 0.9 | 1 | 1 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.8 | 0.5 | 0.5 |  |  | -71.4286 | 0.6 | 0.7 | 0.8 | 0.8 | 0.8
W | 12.5
Criteria | Variability in Supply | Variability in Quality | Water Quality | Maintenance Requirements | Failure Rate | Construction Cost | Potential for NGO/Governmental Help | Maintenance Cost | Transportation Costs | Sense of Ownership | Discrimination | Misinformation | Persons served | Job Creation | Prevelence of Source | Distance to Source | Hazard Impact | Resilience |  |  | Water Quality | Failure Rate | Sense of Ownership | Prevelence of Source | Distance to Source | Distance to Source
RWH | 43.8503 | 100 | 97.3262 | 75 | 100 | 96.1249 | 100 | 100 | 100 | 100 | 50 | 75 | 0.6 | 0 | 93.5 | 82.9333 | 100 | 100
Pond | 73.3193 | 25 | 40.3197 | 100 | 75 | 59.231 | 25 | 100 | 50 | 75 | 100 | 75 | 70.8 | 25 | 55 | 74.4667 | 0 | 25
PSF | 86.8721 | 75 | 86.3872 | 0 | 50 | 95.372 | 100 | 97.5 | 100 | 50 | 75 | 50 | 71.2 | 25 | 35 | 74.2 | 25 | 25
MAR | 41.6667 | 75 | 64.0432 | 0 | 50 | 40.1566 | 100 | 18.75 | 100 | 25 | 50 | 0 | 30 | 25 | 3.5 | 73.3333 | 50 | 50
TW | 94.7354 | 75 | 35.855 | 75 | 75 | 79.8113 | 25 | 100 | 100 | 75 | 75 | 50 | 8.3 | 25 | 61 | 25.5333 | 100 | 100
best | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
worst | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Indifference Threshold, q | 83.3333 | 100 | -10 | 100 | 100 | -0.23492 | 100 | 1.25 | 25 | 100 | 100 | 75 | 95 | 100 | 75 | 6.6667 | 100 | 100
Preference Threshold, p | 58.3333 | 50 | -40 | 75 | 75 | 0 | 75 | 25 | 75 | 50 | 50 | 50 | 80 | 75 | 50 | 20 | 50 | 50
v/p | 6 | 7 | 6 | 5 | 7 | 4 | 3 | 3 | 5 | 6 | 7 | 10 | 7 | 12 | 5 | 5 | 10 | 10
Veto Threshold, v | 350 | 350 | -240 | 375 | 525 | 0 | 225 | 75 | 375 | 300 | 350 | 500 | 560 | 900 | 250 | 100 | 500 | 500
Weight of Criteria, k | 0.7 | 0.6 | 0.7 | 0.8 | 0.6 | 0.9 | 1 | 1 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.8 | 0.5 | 0.5
W | 12.5
1/(q-p) | 0.04 | 0.02 | 0.033333 | 0.04 | 0.04 | -4.2568 | 0.04 | -0.042105 | -0.02 | 0.02 | 0.02 | 0.04 | 0.066667 | 0.04 | 0.04 | -0.075 | 0.02 | 0.02
q-p | 25 | 50 | 30 | 25 | 25 | -0.23492 | 25 | -23.75 | -50 | 50 | 50 | 25 | 15 | 25 | 25 | -13.3333 | 50 | 50
cj(s, s') | s | s' | Variability in Supply | Variability in Quality | Water Quality | Maintenance Requirements | Failure Rate | Construction Cost | Potential for NGO/Governmental Help | Maintenance Cost | Transportation Costs | Sense of Ownership | Discrimination | Misinformation | Persons served | Job Creation | Prevelence of Source | Distance to Source | Hazard Impact | Resilience
| RWH | Pond | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Pond | PSF | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| PSF | MAR | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| MAR | TW | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| RWH | TW | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| RWH | PSF | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| RWH | MAR | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Pond | MAR | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Pond | TW | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| PSF | TW | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.94737 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Pond | RWH | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 0.865 | 1 | 1
| PSF | Pond | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.94737 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| MAR | PSF | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| TW | MAR | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1
| TW | RWH | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1
| PSF | RWH | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0.94737 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.845 | 1 | 1
| MAR | RWH | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0.78 | 1 | 1
| MAR | Pond | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| TW | Pond | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1
| TW | PSF | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1
sum term | s | s' | Variability in Supply | Variability in Quality | Water Quality | Maintenance Requirements | Failure Rate | Construction Cost | Potential for NGO/Governmental Help | Maintenance Cost | Transportation Costs | Sense of Ownership | Discrimination | Misinformation | Persons served | Job Creation | Prevelence of Source | Distance to Source | Hazard Impact | Resilience
| RWH | Pond | 0.7 | 0.6 | 0.7 | 0.8 | 0.6 | 0.9 | 1 | 1 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.8 | 0.5 | 0.5
| Pond | PSF | 0.7 | 0.6 | 0 | 0.8 | 0.6 | 0 | 1 | 1 | 0.4 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.8 | 0.5 | 0.5
| PSF | MAR | 0.7 | 0.6 | 0.7 | 0.8 | 0.6 | 0.9 | 1 | 1 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.8 | 0.5 | 0.5
| MAR | TW | 0.7 | 0.6 | 0.7 | 0.8 | 0.6 | 0 | 1 | 0 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.8 | 0.5 | 0.5
| RWH | TW | 0.7 | 0.6 | 0.7 | 0.8 | 0.6 | 0.9 | 1 | 1 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.8 | 0.5 | 0.5
| RWH | PSF | 0.7 | 0.6 | 0.7 | 0.8 | 0.6 | 0.9 | 1 | 1 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.8 | 0.5 | 0.5
| RWH | MAR | 0.7 | 0.6 | 0.7 | 0.8 | 0.6 | 0.9 | 1 | 1 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.8 | 0.5 | 0.5
| Pond | MAR | 0.7 | 0.6 | 0 | 0.8 | 0.6 | 0.9 | 1 | 1 | 0.4 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.8 | 0.5 | 0.5
| Pond | TW | 0.7 | 0.6 | 0 | 0.8 | 0.6 | 0 | 1 | 1 | 0.4 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.8 | 0.5 | 0.5
| PSF | TW | 0.7 | 0.6 | 0.7 | 0.8 | 0.6 | 0.9 | 1 | 0.94737 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.8 | 0.5 | 0.5
| Pond | RWH | 0.7 | 0.6 | 0 | 0.8 | 0.6 | 0 | 1 | 1 | 0.4 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.692 | 0.5 | 0.5
| PSF | Pond | 0.7 | 0.6 | 0.7 | 0.8 | 0.6 | 0.9 | 1 | 0.94737 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.8 | 0.5 | 0.5
| MAR | PSF | 0.7 | 0.6 | 0 | 0.8 | 0.6 | 0 | 1 | 0 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.8 | 0.5 | 0.5
| TW | MAR | 0.7 | 0.6 | 0 | 0.8 | 0.6 | 0.9 | 1 | 1 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0 | 0.5 | 0.5
| TW | RWH | 0.7 | 0.6 | 0 | 0.8 | 0.6 | 0 | 1 | 1 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0 | 0.5 | 0.5
| PSF | RWH | 0.7 | 0.6 | 0 | 0.8 | 0.6 | 0 | 1 | 0.94737 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.676 | 0.5 | 0.5
| MAR | RWH | 0.7 | 0.6 | 0 | 0.8 | 0.6 | 0 | 1 | 0 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0 | 0.624 | 0.5 | 0.5
| MAR | Pond | 0.7 | 0.6 | 0.7 | 0.8 | 0.6 | 0 | 1 | 0 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0.8 | 0.5 | 0.5
| TW | Pond | 0.7 | 0.6 | 0 | 0.8 | 0.6 | 0.9 | 1 | 1 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0 | 0.5 | 0.5
| TW | PSF | 0.7 | 0.6 | 0 | 0.8 | 0.6 | 0 | 1 | 1 | 0.8 | 0.7 | 0.6 | 0.5 | 0.6 | 0.4 | 0.8 | 0 | 0.5 | 0.5
[19 empty] | #REF! | #REF!
C(s,s') | s | s'
| RWH | Pond | 1 |  | s'
| Pond | PSF | 0.84 | s | RWH | Pond | PSF | MAR | TW
| PSF | MAR | 1 | RWH |  | 1 | 1 | 1 | 1
| MAR | TW | 0.848 | Pond | 0.83136 |  | 0.84 | 0.912 | 0.84
| RWH | TW | 1 | PSF | 0.85787 | 0.99579 |  | 1 | 0.99579
| RWH | PSF | 1 | MAR | 0.71392 | 0.848 | 0.792 |  | 0.848
| RWH | MAR | 1 | TW | 0.808 | 0.88 | 0.808 | 0.88
| Pond | MAR | 0.912
| Pond | TW | 0.84 |  | Average | 0.89254
| PSF | TW | 0.99579
| Pond | RWH | 0.83136
| PSF | Pond | 0.99579
| MAR | PSF | 0.792
| TW | MAR | 0.88
| TW | RWH | 0.808
| PSF | RWH | 0.85787
| MAR | RWH | 0.71392
| MAR | Pond | 0.848
| TW | Pond | 0.88
| TW | PSF | 0.808
dj(s, s') | s | s' | Variability in Supply | Variability in Quality | Water Quality | Maintenance Requirements | Failure Rate | Construction Cost | Potential for NGO/Governmental Help | Maintenance Cost | Transportation Costs | Sense of Ownership | Discrimination | Misinformation | Persons served | Job Creation | Prevelence of Source | Distance to Source | Hazard Impact | Resilience
| RWH | Pond | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Pond | PSF | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PSF | MAR | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MAR | TW | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0375 | 0 | 0 | 0
| RWH | TW | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RWH | PSF | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RWH | MAR | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Pond | MAR | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Pond | TW | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11111 | 0.055556
| PSF | TW | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.055556 | 0.055556
| Pond | RWH | 0 | 0.083333 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11111 | 0.055556
| PSF | Pond | 0 | 0 | 1 | 0.083333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MAR | PSF | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TW | MAR | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3475 | 0 | 0
| TW | RWH | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.4675 | 0 | 0
| PSF | RWH | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0425 | 0 | 0.055556 | 0.055556
| MAR | RWH | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0.1 | 0 | 0.055556 | 0 | 0 | 0.2 | 0 | 0 | 0
| MAR | Pond | 0 | 0 | 1 | 0.083333 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0.055556 | 0 | 0 | 0.0075 | 0 | 0 | 0
| TW | Pond | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36167 | 0 | 0
| TW | PSF | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35833 | 0 | 0
| s | s' | Variability in Supply | Variability in Quality | Water Quality | Maintenance Requirements | Failure Rate | Construction Cost | Potential for NGO/Governmental Help | Maintenance Cost | Transportation Costs | Sense of Ownership | Discrimination | Misinformation | Persons served | Job Creation | Prevelence of Source | Distance to Source | Hazard Impact | Resilience
| RWH | Pond
| Pond | PSF |  |  | 0 |  |  | 0
| PSF | MAR
| MAR | TW |  |  | 0 |  |  | 0 |  | 0
| RWH | TW
| RWH | PSF
| RWH | MAR
| Pond | MAR |  |  | 0
| Pond | TW |  |  | 0 |  |  | 0
| PSF | TW |  |  | 0
| Pond | RWH |  |  | 0 |  |  | 0
| PSF | Pond |  |  | 0
| MAR | PSF |  |  | 0 |  |  | 0 |  | 0
| TW | MAR |  |  | 0
| TW | RWH |  |  | 0 |  |  | 0
| PSF | RWH |  |  | 0 |  |  | 0
| MAR | RWH |  |  | 0 |  |  | 0 |  | 0
| MAR | Pond |  |  | 0 |  |  | 0 |  | 0
| TW | Pond |  |  | 0
| TW | PSF |  |  | 0 |  |  | 0
dj(s, s')*weights | s | s' | Variability in Supply | Variability in Quality | Water Quality | Maintenance Requirements | Failure Rate | Construction Cost | Potential for NGO/Governmental Help | Maintenance Cost | Transportation Costs | Sense of Ownership | Discrimination | Misinformation | Persons served | Job Creation | Prevelence of Source | Distance to Source | Hazard Impact | Resilience
| RWH | Pond | 0 | 0 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Pond | PSF | 0 | 0 | 0.7 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PSF | MAR | 0 | 0 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MAR | TW | 0 | 0 | 0.7 | 0 | 0 | 0.9 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03 | 0 | 0 | 0
| RWH | TW | 0 | 0 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RWH | PSF | 0 | 0 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RWH | MAR | 0 | 0 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Pond | MAR | 0 | 0 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Pond | TW | 0 | 0 | 0.7 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.055556 | 0.027778
| PSF | TW | 0 | 0 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.027778 | 0.027778
| Pond | RWH | 0 | 0.05 | 0.7 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.055556 | 0.027778
| PSF | Pond | 0 | 0 | 0.7 | 0.066667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MAR | PSF | 0 | 0 | 0.7 | 0 | 0 | 0.9 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TW | MAR | 0 | 0 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.278 | 0 | 0
| TW | RWH | 0 | 0 | 0.7 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.374 | 0 | 0
| PSF | RWH | 0 | 0 | 0.7 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.034 | 0 | 0.027778 | 0.027778
| MAR | RWH | 0 | 0 | 0.7 | 0 | 0 | 0.9 | 0 | 1 | 0 | 0.07 | 0 | 0.027778 | 0 | 0 | 0.16 | 0 | 0 | 0
| MAR | Pond | 0 | 0 | 0.7 | 0.066667 | 0 | 0.9 | 0 | 1 | 0 | 0 | 0 | 0.027778 | 0 | 0 | 0.006 | 0 | 0 | 0
| TW | Pond | 0 | 0 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28933 | 0 | 0
| TW | PSF | 0 | 0 | 0.7 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28667 | 0 | 0
D(s,s') | s | s'
| RWH | Pond | 0.056 |  | s'
| Pond | PSF | 0.128 | s | RWH | Pond | PSF | MAR | TW
| PSF | MAR | 0.056 | RWH |  | 0.056 | 0.056 | 0.056 | 0.056
| MAR | TW | 0.2104 | Pond | 0.13867 |  | 0.128 | 0.056 | 0.13467
| RWH | TW | 0.056 | PSF | 0.13516 | 0.061333 |  | 0.056 | 0.060444
| RWH | PSF | 0.056 | MAR | 0.22862 | 0.21604 | 0.208 |  | 0.2104
| RWH | MAR | 0.056 | TW | 0.15792 | 0.079147 | 0.15093 | 0.07824
| Pond | MAR | 0.056
| Pond | TW | 0.13467 |  | Average | 0.11618
| PSF | TW | 0.060444
| Pond | RWH | 0.13867
| PSF | Pond | 0.061333
| MAR | PSF | 0.208
| TW | MAR | 0.07824
| TW | RWH | 0.15792
| PSF | RWH | 0.13516
| MAR | RWH | 0.22862
| MAR | Pond | 0.21604
| TW | Pond | 0.079147
| TW | PSF | 0.15093
[19 empty] | 0 | 0
P(sSs') | s | s' | Variability in Supply | Variability in Quality | Water Quality | Maintenance Requirements | Failure Rate | Construction Cost | Potential for NGO/Governmental Help | Maintenance Cost | Transportation Costs | Sense of Ownership | Discrimination | Misinformation | Persons served | Job Creation | Prevelence of Source | Distance to Source | Hazard Impact | Resilience
| RWH | Pond | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Pond | PSF | 0.84 | 0.84 | 0 | 0.84 | 0.84 | 0 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84
| PSF | MAR | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| MAR | TW | 0.848 | 0.848 | 0 | 0.848 | 0.848 | 0 | 0.848 | 0 | 0.848 | 0.848 | 0.848 | 0.848 | 0.848 | 0.848 | 0.848 | 0.848 | 0.848 | 0.848
| RWH | TW | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| RWH | PSF | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| RWH | MAR | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Pond | MAR | 0.912 | 0.912 | 0 | 0.912 | 0.912 | 0.912 | 0.912 | 0.912 | 0.912 | 0.912 | 0.912 | 0.912 | 0.912 | 0.912 | 0.912 | 0.912 | 0.912 | 0.912
| Pond | TW | 0.84 | 0.84 | 0 | 0.84 | 0.84 | 0 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84
| PSF | TW | 0.99579 | 0.99579 | 0 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579
| Pond | RWH | 0.83136 | 0.83136 | 0 | 0.83136 | 0.83136 | 0 | 0.83136 | 0.83136 | 0.83136 | 0.83136 | 0.83136 | 0.83136 | 0.83136 | 0.83136 | 0.83136 | 0.83136 | 0.83136 | 0.83136
| PSF | Pond | 0.99579 | 0.99579 | 0 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579 | 0.99579
| MAR | PSF | 0.792 | 0.792 | 0 | 0.792 | 0.792 | 0 | 0.792 | 0 | 0.792 | 0.792 | 0.792 | 0.792 | 0.792 | 0.792 | 0.792 | 0.792 | 0.792 | 0.792
| TW | MAR | 0.88 | 0.88 | 0 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88
| TW | RWH | 0.808 | 0.808 | 0 | 0.808 | 0.808 | 0 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808
| PSF | RWH | 0.85787 | 0.85787 | 0 | 0.85787 | 0.85787 | 0 | 0.85787 | 0.85787 | 0.85787 | 0.85787 | 0.85787 | 0.85787 | 0.85787 | 0.85787 | 0.85787 | 0.85787 | 0.85787 | 0.85787
| MAR | RWH | 0.71392 | 0.71392 | 0 | 0.71392 | 0.71392 | 0 | 0.71392 | 0 | 0.71392 | 0.71392 | 0.71392 | 0.71392 | 0.71392 | 0.71392 | 0.71392 | 0.71392 | 0.71392 | 0.71392
| MAR | Pond | 0.848 | 0.848 | 0 | 0.848 | 0.848 | 0 | 0.848 | 0 | 0.848 | 0.848 | 0.848 | 0.848 | 0.848 | 0.848 | 0.848 | 0.848 | 0.848 | 0.848
| TW | Pond | 0.88 | 0.88 | 0 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88
| TW | PSF | 0.808 | 0.808 | 0 | 0.808 | 0.808 | 0 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808 | 0.808
P(sSs') | s | s'
| RWH | Pond | 1 |  | s'
| Pond | PSF | 0.74667 | s | RWH | Pond | PSF | MAR | TW
| PSF | MAR | 1 | RWH |  | 1 | 1 | 1 | 1
| MAR | TW | 0.70667 | Pond | 0.73899 |  | 0.74667 | 0.86133 | 0.74667
| RWH | TW | 1 | PSF | 0.76255 | 0.94047 |  | 1 | 0.94047
| RWH | PSF | 1 | MAR | 0.59493 | 0.70667 | 0.66 |  | 0.70667
| RWH | MAR | 1 | TW | 0.71822 | 0.83111 | 0.71822 | 0.83111
| Pond | MAR | 0.86133
| Pond | TW | 0.74667 |  | Average | 0.8252
| PSF | TW | 0.94047
| Pond | RWH | 0.73899
| PSF | Pond | 0.94047
| MAR | PSF | 0.66
| TW | MAR | 0.83111
| TW | RWH | 0.71822
| PSF | RWH | 0.76255
| MAR | RWH | 0.59493
| MAR | Pond | 0.70667
| TW | Pond | 0.83111
| TW | PSF | 0.71822
J | RWH | Pond
| Pond | PSF |  |  | 0 |  |  | 0
| PSF | MAR
| MAR | TW |  |  | 0 |  |  | 0 |  | 0
| RWH | TW
| RWH | PSF
| RWH | MAR
| Pond | MAR |  |  | 0
| Pond | TW |  |  | 0 |  |  | 0
| PSF | TW |  |  | 0
J | Pond | RWH |  |  | 0 |  |  | 0
| PSF | Pond |  |  | 0
| MAR | PSF |  |  | 0 |  |  | 0 |  | 0
| TW | MAR |  |  | 0
| TW | RWH |  |  | 0 |  |  | 0
| PSF | RWH |  |  | 0 |  |  | 0
| MAR | RWH |  |  | 0 |  |  | 0 |  | 0
| MAR | Pond |  |  | 0 |  |  | 0 |  | 0
| TW | Pond |  |  | 0
| TW | PSF |  |  | 0 |  |  | 0
[19 empty] | 0 | 0

## Formulas
Group | Criteria | Source | Data Used | Formula | Value |  | Interpretation | Best | Worst | Range | Normalized Value
Technical | Variability in Supply | Average of number of months used | BEMS, pilot, HH; BEMS; MAR | Average(# of months used) | RWH | 5.262 | How offten can the source be used during the year | 12 | 0 | -12 | 43.8503
[5 empty] | Pond | 8.7983 |  | 12 | 0 | -12 | 73.3193
[5 empty] | PSF | 10.4247 |  | 12 | 0 | -12 | 86.8721
[5 empty] | MAR | 5 |  | 12 | 0 | -12 | 41.6667
[5 empty] | TW | 11.3683 |  | 12 | 0 | -12 | 94.7354
| Variability in Quality | Qualitative Interviews | ---- | ---- | RWH | 5 | How the source changes in quality due to season; How the source changes in quality due to location | 5 | 1 | -4 | 100
[5 empty] | Pond | 2 |  | 5 | 1 | -4 | 25
[5 empty] | PSF | 4 |  | 5 | 1 | -4 | 75
[5 empty] | MAR | 4 |  | 5 | 1 | -4 | 75
[5 empty] | TW | 4 |  | 5 | 1 | -4 | 75
| Water Quality | Function of TDS, Salinity, Arsenic, and pathogens | BEMS, pilot, HH; BEMS; MAR | - Sal/Max Sal - TDS/Max TDS - 0.5 (for Arsenic if TW) - 0.5 (for Pathogens if SW) - 0.5 (if perceived as salty)……. (if no salinty or TDS data is available, and the source is used as drinking water, use the average value for TW) | RWH | -0.026738 | How clean is the water | 0 | -1 | -1 | 97.3262
[5 empty] | Pond | -0.5968 |  | 0 | -1 | -1 | 40.3197
[5 empty] | PSF | -0.13613 |  | 0 | -1 | -1 | 86.3872
[5 empty] | MAR | -0.35957 |  | 0 | -1 | -1 | 64.0432
[5 empty] | TW | -0.64145 |  | 0 | -1 | -1 | 35.855
| Maintenance Requirements | Qualitative Interviews | ---- | ---- | RWH | 4 | How much time and effort is required for regular maintenance | 5 | 1 | -4 | 75
[5 empty] | Pond | 5 |  | 5 | 1 | -4 | 100
[5 empty] | PSF | 1 |  | 5 | 1 | -4 | 0
[5 empty] | MAR | 1 |  | 5 | 1 | -4 | 0
[5 empty] | TW | 4 |  | 5 | 1 | -4 | 75
| Failure Rate | Qualitative Interviews | ---- | ---- | RWH | 5 | How often does source failure interrupt usage | 5 | 1 | -4 | 100
[5 empty] | Pond | 4 |  | 5 | 1 | -4 | 75
[5 empty] | PSF | 3 |  | 5 | 1 | -4 | 50
[5 empty] | MAR | 3 |  | 5 | 1 | -4 | 50
[5 empty] | TW | 4 |  | 5 | 1 | -4 | 75
Economic | Construction Cost | Matin Paper |  |  | RWH | 42500 | How much does it cost to contruct/purchase the source | 3900 | 1000000 | 996100 | 96.1249
[5 empty] | Pond | 410000 |  | 3900 | 1000000 | 996100 | 59.231
[5 empty] | PSF | 50000 |  | 3900 | 1000000 | 996100 | 95.372
[5 empty] | MAR | 600000 |  | 3900 | 1000000 | 996100 | 40.1566
[5 empty] | TW | 205000 |  | 3900 | 1000000 | 996100 | 79.8113
| Potential for NGO/Governmental Help | Qualitative Interviews | ---- | ---- | RWH | 5 | How likely is it that outside organization assist in purchasing the source | 5 | 1 | -4 | 100
[5 empty] | Pond | 2 |  | 5 | 1 | -4 | 25
[5 empty] | PSF | 5 |  | 5 | 1 | -4 | 100
[5 empty] | MAR | 5 |  | 5 | 1 | -4 | 100
[5 empty] | TW | 2 |  | 5 | 1 | -4 | 25
| Maintenance Cost | Matin Paper |  |  | RWH | 0 | How much does the regular maintenance of the source cost | 0 | 4000 | 4000 | 100
[5 empty] | Pond | 0 |  | 0 | 4000 | 4000 | 100
[5 empty] | PSF | 100 |  | 0 | 4000 | 4000 | 97.5
[5 empty] | MAR | 3250 |  | 0 | 4000 | 4000 | 18.75
[5 empty] | TW | 0 |  | 0 | 4000 | 4000 | 100
| Transportation Cost | Qualitative Interviews | ---- | ---- | RWH | 0 | Cost of transporting the water to the household | 0 | 10 | 10 | 100
[5 empty] | Pond | 10 |  | 0 | 10 | 10 | 0
[5 empty] | PSF | 0 |  | 0 | 10 | 10 | 100
[5 empty] | MAR | 0 |  | 0 | 10 | 10 | 100
[5 empty] | TW | 0 |  | 0 | 10 | 10 | 100
Social | Sense of Ownership | Qualitative Interviews | ---- | ---- | RWH | 5 | How likely will locals feel ownership and responsibility of the source | 5 | 1 | -4 | 100
[5 empty] | Pond | 4 |  | 5 | 1 | -4 | 75
[5 empty] | PSF | 3 |  | 5 | 1 | -4 | 50
[5 empty] | MAR | 2 |  | 5 | 1 | -4 | 25
[5 empty] | TW | 4 |  | 5 | 1 | -4 | 75
| Discrimination | Qualitative Interviews | ---- | ---- | RWH | 3 | How likely will there be discrimination in use of source (economic status, gender, relative location to source, etc.) | 5 | 1 | -4 | 50
[5 empty] | Pond | 5 |  | 5 | 1 | -4 | 100
[5 empty] | PSF | 4 |  | 5 | 1 | -4 | 75
[5 empty] | MAR | 3 |  | 5 | 1 | -4 | 50
[5 empty] | TW | 4 |  | 5 | 1 | -4 | 75
| Misinformation | Qualitative Interviews | ---- | ---- | RWH | 4 | How likely the locals are misinformed about the source (ownership, quality, function, etc.) | 5 | 1 | -4 | 75
[5 empty] | Pond | 4 |  | 5 | 1 | -4 | 75
[5 empty] | PSF | 3 |  | 5 | 1 | -4 | 50
[5 empty] | MAR | 1 |  | 5 | 1 | -4 | 0
[5 empty] | TW | 3 |  | 5 | 1 | -4 | 50
| Persons Served | Average of how many people use the source | Data = range of number of people using the source | Sum(Mean(Range of people using the source))/Total number of each source | RWH | 6 | How many people can the source serve | 1000 | 0 | -1000 | 0.6
[5 empty] | Pond | 708 |  | 1000 | 0 | -1000 | 70.8
[5 empty] | PSF | 712 |  | 1000 | 0 | -1000 | 71.2
[5 empty] | MAR | 300 |  | 1000 | 0 | -1000 | 30
[5 empty] | TW | 83 |  | 1000 | 0 | -1000 | 8.3
| Job Creation | Qualitative Interviews | ---- | ---- | RWH | 1 | How likely is it that the source will create a job/s for local community members | 5 | 1 | -4 | 0
[5 empty] | Pond | 2 |  | 5 | 1 | -4 | 25
[5 empty] | PSF | 2 |  | 5 | 1 | -4 | 25
[5 empty] | MAR | 2 |  | 5 | 1 | -4 | 25
[5 empty] | TW | 2 |  | 5 | 1 | -4 | 25
Environmental | Prevalence of Source | Number of each used for drinking water in Khulna District | MAR, BEMS; MAR-salinity; BEMS pilot, HH, Amanda | Number of each source used for drinking water in Khulna district | RWH | 187 | How many occurances of this source is currently used in the area | 200 | 0 | -200 | 93.5 | 202 | How many occurances of this source is currently used in the area | 202 | 0 | -202 | 100
[5 empty] | Pond | 110 |  | 200 | 0 | -200 | 55 | 197 |  | 202 | 0 | -202 | 97.5248
[5 empty] | PSF | 70 |  | 200 | 0 | -200 | 35 | 84 |  | 202 | 0 | -202 | 41.5842
[5 empty] | MAR | 7 |  | 200 | 0 | -200 | 3.5 | 7 |  | 202 | 0 | -202 | 3.4653
[5 empty] | TW | 122 |  | 200 | 0 | -200 | 61 | 190 |  | 202 | 0 | -202 | 94.0594
| Distance to Source | Travel time to source | BEMS, pilot, HH | Average travel time to source (minutes) | RWH | 1.91 | How far do people travel to this source | 0 | 15 | 15 | 87.2667
[5 empty] | Pond | 5.02 |  | 0 | 15 | 15 | 66.5333
[5 empty] | PSF | 4.72 |  | 0 | 15 | 15 | 68.5333
[5 empty] | MAR | 15 |  | 0 | 15 | 15 | 0
[5 empty] | TW | 11.39 |  | 0 | 15 | 15 | 24.0667
| Hazard Impact | Qualitative Interviews | ---- | ---- | RWH | 5 | How likely is it that the source will be negatively impacted by an environmental hazard (cyclone, flood, drought, etc) | 5 | 1 | -4 | 100
[5 empty] | Pond | 1 |  | 5 | 1 | -4 | 0
[5 empty] | PSF | 2 |  | 5 | 1 | -4 | 25
[5 empty] | MAR | 3 |  | 5 | 1 | -4 | 50
[5 empty] | TW | 5 |  | 5 | 1 | -4 | 100
| Resilience | Qualitative Interviews | ---- | ---- | RWH | 5 | How easily can the source recover from a negative hazard impact | 5 | 1 | -4 | 100
[5 empty] | Pond | 2 |  | 5 | 1 | -4 | 25
[5 empty] | PSF | 2 |  | 5 | 1 | -4 | 25
[5 empty] | MAR | 3 |  | 5 | 1 | -4 | 50
[5 empty] | TW | 5 |  | 5 | 1 | -4 | 100
| A field study on the social aspects of the MAR system | Albas, I. Hagedooren, H.P. Knook, V.G. Pot, H.M.
| Appendix G: Cost and Water Sources | 2014-01-01
|  |  | Harun, M.A.Y.A and G.M.M. Kabir (2013), Evaluating pond sand filter as sustainable drinking water supplier in the Southwest coastal region of Bangladesh. Appl Water Sci, 3:161-166. |  |  |  | Blanchet, T (2014), Up-scaling MAR for Providing Community Water Supplies in Saline Areas: Anthropological Study Report. Presented to K. Matin Ahmed. Drishti Research Centre, Dhaka, Bangladesh.

## FINAL
Group | Criteria | Source | Data Used | Formula | Value |  | Interpretation
Technical | Variability in Supply | Average of number of months used | BEMS, pilot, HH; BEMS; MAR | Average(# of months used) | RWH | 5.262 | How offten can the source be used during the year
[5 empty] | Pond | 8.7983
[5 empty] | PSF | 10.4247
[5 empty] | MAR | 5
[5 empty] | TW | 11.3683
| Variability in Quality | Qualitative Interviews | ---- | ---- | RWH | 5 | How the source changes in quality due to season; How the source changes in quality due to location
[5 empty] | Pond | 2
[5 empty] | PSF | 4
[5 empty] | MAR | 4
[5 empty] | TW | 4
| Water Quality | Function of TDS, Salinity, Arsenic, and pathogens | BEMS, pilot, HH; BEMS; MAR | - Sal/Max Sal - TDS/Max TDS - 0.5 (for Arsenic if TW) - 0.5 (for Pathogens if SW) - 0.5 (if perceived as salty)……. (if no salinty or TDS data is available, and the source is used as drinking water, use the average value for TW) | RWH | -0.026738 | How clean is the water
[5 empty] | Pond | -0.5968
[5 empty] | PSF | -0.13613
[5 empty] | MAR | -0.35957
[5 empty] | TW | -0.64145
| Maintenance Requirements | Qualitative Interviews | ---- | ---- | RWH | 4 | How much time and effort is required for regular maintenance
[5 empty] | Pond | 5
[5 empty] | PSF | 1
[5 empty] | MAR | 1
[5 empty] | TW | 4
| Failure Rate | Qualitative Interviews | ---- | ---- | RWH | 5 | How often does source failure interrupt usage
[5 empty] | Pond | 4
[5 empty] | PSF | 3
[5 empty] | MAR | 3
[5 empty] | TW | 4
Economic | Construction Cost | Matin Paper |  |  | RWH | 42500 | How much does it cost to contruct/purchase the source
[5 empty] | Pond | 410000
[5 empty] | PSF | 50000
[5 empty] | MAR | 600000
[5 empty] | TW | 205000
| Potential for NGO/Governmental Help | Qualitative Interviews | ---- | ---- | RWH | 5 | How likely is it that outside organization assist in purchasing the source
[5 empty] | Pond | 2
[5 empty] | PSF | 5
[5 empty] | MAR | 5
[5 empty] | TW | 2
| Maintenance Cost | Matin Paper |  |  | RWH | 0 | How much does the regular maintenance of the source cost
[5 empty] | Pond | 0
[5 empty] | PSF | 100
[5 empty] | MAR | 3250
[5 empty] | TW | 0
| Transportation Cost | Qualitative Interviews | ---- | ---- | RWH | 0 | Cost of transporting the water to the household
[5 empty] | Pond | 10
[5 empty] | PSF | 0
[5 empty] | MAR | 0
[5 empty] | TW | 0
Social | Sense of Ownership | Qualitative Interviews | ---- | ---- | RWH | 5 | How likely will locals feel ownership and responsibility of the source
[5 empty] | Pond | 4
[5 empty] | PSF | 3
[5 empty] | MAR | 2
[5 empty] | TW | 4
| Discrimination | Qualitative Interviews | ---- | ---- | RWH | 3 | How likely will there be discrimination in use of source (economic status, gender, relative location to source, etc.)
[5 empty] | Pond | 5
[5 empty] | PSF | 4
[5 empty] | MAR | 3
[5 empty] | TW | 4
| Misinformation | Qualitative Interviews | ---- | ---- | RWH | 4 | How likely the locals are misinformed about the source (ownership, quality, function, etc.)
[5 empty] | Pond | 4
[5 empty] | PSF | 3
[5 empty] | MAR | 1
[5 empty] | TW | 3
| Persons Served | Average of how many people use the source | Data = range of number of people using the source | Sum(Mean(Range of people using the source))/Total number of each source | RWH | 6 | How many people can the source serve
[5 empty] | Pond | 708
[5 empty] | PSF | 712
[5 empty] | MAR | 300
[5 empty] | TW | 83
| Job Creation | Qualitative Interviews | ---- | ---- | RWH | 1 | How likely is it that the source will create a job/s for local community members
[5 empty] | Pond | 2
[5 empty] | PSF | 2
[5 empty] | MAR | 2
[5 empty] | TW | 2
Environmental | Prevalence of Source | Number of each used for drinking water in Khulna District | MAR, BEMS; MAR-salinity; BEMS pilot, HH, Amanda | Number of each source used for drinking water in Khulna district | RWH | 187 | How many occurances of this source is currently used in the area
[5 empty] | Pond | 110
[5 empty] | PSF | 70
[5 empty] | MAR | 7
[5 empty] | TW | 122
| Distance to Source | Travel time to source | BEMS, pilot, HH | Average travel time to source (minutes) | RWH | 1.91 | How far do people travel to this source
[5 empty] | Pond | 5.02
[5 empty] | PSF | 4.72
[5 empty] | MAR | 15
[5 empty] | TW | 11.39
| Hazard Impact | Qualitative Interviews | ---- | ---- | RWH | 5 | How likely is it that the source will be negatively impacted by an environmental hazard (cyclone, flood, drought, etc)
[5 empty] | Pond | 1
[5 empty] | PSF | 2
[5 empty] | MAR | 3
[5 empty] | TW | 5
| Resilience | Qualitative Interviews | ---- | ---- | RWH | 5 | How easily can the source recover from a negative hazard impact
[5 empty] | Pond | 2
[5 empty] | PSF | 2
[5 empty] | MAR | 3
[5 empty] | TW | 5

## Performance Matrix
| Variability_in_Supply | Variability_in_Quality | Water_Quality | Maintenance_Requirements | Failure_Rate | Construction_Cost | Potential_for_NGO/Governmental_Help | Maintenance_Cost | Transportation_Costs | Sense_of_Ownership | Discrimination | Misinformation | Persons_served | Job_Creation | Prevelence_of_Source | Distance_to_Source | Hazard_Impact | Resilience
RWH | 43.8503 | 100 | 97.3262 | 75 | 100 | 96.1249 | 100 | 100 | 100 | 100 | 50 | 75 | 0.6 | 0 | 93.5 | 87.2667 | 100 | 100
Pond | 73.3193 | 25 | 40.3197 | 100 | 75 | 59.231 | 25 | 100 | 0 | 75 | 100 | 75 | 70.8 | 25 | 55 | 66.5333 | 0 | 25
PSF | 86.8721 | 75 | 86.3872 | 0 | 50 | 95.372 | 100 | 97.5 | 100 | 50 | 75 | 50 | 71.2 | 25 | 35 | 68.5333 | 25 | 25
MAR | 41.6667 | 75 | 64.0432 | 0 | 50 | 40.1566 | 100 | 18.75 | 100 | 25 | 50 | 0 | 30 | 25 | 3.5 | 0 | 50 | 50
TW | 94.7354 | 75 | 35.855 | 75 | 75 | 79.8113 | 25 | 100 | 100 | 75 | 75 | 50 | 8.3 | 25 | 61 | 24.0667 | 100 | 100